# DATA SHEET

## Part Number: MM35 0R560-DIN

Electrical Specifications:  	   	                     Mechanical Specifications:

| D | 68.0mm Max |
| --- | --- |
| T | 9.5mm Max |
| S | 34.0mm Nom |
| L | 40.0mm Nom |
| A (Lead Width) | 9.6mm Nom |
| B | 6.0mm Nom |
| C (Lead Thickness) | 0.8mm Nom |
| E | 5.7mm Nom |

| Resistance @ 25°c | 0.5 ( ( 25 % |
| --- | --- |
| Max Steady State Current Up to 65°c | 60.0 A |
| Max recommended energy rating (Joules) | 1200.0 Joules |
| Rhot @100% Steady State Current | 0.006Ω |
| Rhot @75% Steady State Current | 0.009Ω |
| Rhot @50% Steady State Current | 0.012Ω |
| Rhot @25% Steady State Current | 0.05Ω |
| Body Temperature @ 100% Current rating | 203ºC |
| Max Recommended Voltage | 680V |
| Material Type | B |
| Max Power | 38.4W |

Note: 2X 35DM1R0-X

# Text boxes

T

D

C

A

L

E

B

S